# Food Trailer Checklist

WEEKLY MANAGER CHECK
Outlet __________________________  Date __________  Manager __________________

Mark each item: ✓ = OK   ✗ = Action needed   NA = Not applicable. Record issues below.

| Area | Manager check | Status |
| --- | --- | --- |
| Chillers and freezers | Temperatures within approved limits; logs complete; seals intact; no excess ice. |  |
| Raw and cooked food | Keep raw food covered and below ready-to-eat food; prevent drips and contact. |  |
| Veg / non-veg storage | Use separate, labelled containers and designated storage areas for veg/non-veg. |  |
| Veg / non-veg handling | Use separate boards, knives, tongs and prep areas; prevent shared-oil cross-contact. |  |
| Expiry and stock rotation | Check use-by/expiry dates; remove expired stock; use earliest-expiry stock first. |  |
| Food labels and freshness | Label opened/prepared food with dates and discard times; reject spoiled or damaged stock. |  |
| Cooking and holding | Cooking, reheating and holding temperatures checked and recorded. |  |
| Food preparation | Safe thawing/cooling followed; clean utensils; allergen cross-contact prevented. |  |
| Fryers and oil | Fryers leak-free; baskets/controls sound; oil quality checked and changes recorded. |  |
| Electrical safety | Cables, plugs and sockets sound and dry; no overloading or overheating. |  |
| Equipment condition | All appliances work normally; faulty equipment isolated and repair arranged. |  |
| Exhaust and fire safety | Hood/filters clean; exhaust working; extinguishers serviced; exits clear. |  |
| Grease trap | No blockage, leaks or overflow; cleaned as needed; next service date recorded. |  |
| Water and handwashing | Safe water available; tank/hoses clean; basin stocked with soap and paper towels. |  |
| Drainage and waste | Drains flow freely; wastewater contained; bins emptied; used oil stored safely. |  |
| Kitchen cleaning | Worktops, utensils, floors and behind equipment clean; sanitising done correctly. |  |
| Staff hygiene | Clean uniforms/hair restraints; proper handwashing; illness reported and managed. |  |
| Pest control | No pest signs; openings protected; pest-control follow-up complete. |  |
| Trailer safety | Trailer stable; steps/floor safe; equipment secure; no roof or water leaks. |  |
| Customer area | Counter, seating and surroundings clean; packaging protected; menu/POS ready. |  |
| Stock and records | Stock/wastage reviewed; supplies sufficient; permits and service records current. |  |
| Previous issues | Outstanding repairs, complaints and last week’s actions followed up. |  |

Issues and corrective actions

Issue / action                                           Responsible person                  Due date
____________________________________________________________________________
____________________________________________________________________________

Manager signature ____________________   Follow-up date ____________________

Continue daily food-safety checks. Stop affected equipment or service immediately for unsafe food, water, sewage, electrical or fire conditions; record action before restarting.